INSPECTION REPORT  /  EDITABLE TEMPLATE

# Building condition
report

A structured assessment of building fabric, visible services, defects and maintenance priorities.

HOW TO USE  •  [Square brackets] = replace with your details  •  SAMPLE = illustrative finding; replace before issuing.

REPORT INFORMATION

| BUILDING | INSPECTION |
| --- | --- |
| [Building name / address] | Date: [Inspection date] |
| Client: [Client / organisation] | Reference: [Report reference] |
| Surveyor: [Your name / company] | Weather: [Weather, if relevant] |
| Building use: [Office / residential / mixed] | Access: [Accessible areas / restrictions] |

# Executive summary  /  SAMPLE — REPLACE

SAMPLE: A visual assessment of accessible building fabric found generally serviceable elements, with a blocked roof outlet and localised masonry cracking requiring follow-up. Findings are illustrative only and must be replaced with verified site observations.

| OVERALL CONDITION | KEY PRIORITIES | INSPECTION STATUS |
| --- | --- | --- |
| ADVISORY | 1 priority investigation • 2 planned actions | Visual inspection only |

# 01  Scope and limitations

SAMPLE SCOPE: Visual inspection of accessible roof areas (from safe vantage points), elevations, structure indicators, internal finishes, circulation areas and visible building services. Concealed elements, inaccessible voids, intrusive investigation, structural calculations and functional service testing are excluded unless expressly agreed.

# 02  Condition rating guide

| RATING | MEANING |
| --- | --- |
| GOOD | No material defects observed in the inspected area. |
| ADVISORY | Maintenance or further assessment recommended. |
| ATTENTION | Prompt action or specialist assessment required. |
| NOT INSPECTED | Area inaccessible or outside agreed scope. |

INSPECTION FINDINGS / EXAMPLE ENTRIES

# 03  Building element assessment  /  SAMPLE FINDINGS

| ELEMENT | RATING | OBSERVATION / ACTION |
| --- | --- | --- |
| Roof coverings & drainage | ATTENTION | SAMPLE: Blocked rainwater outlet and staining below parapet; inspect and clear. |
| External walls & structure | ADVISORY | SAMPLE: Stepped cracking near window head; assess cause and monitor. |
| Internal fabric & finishes | ADVISORY | SAMPLE: Localised damp staining to upper-floor wall; trace moisture source. |
| Windows, doors & access | GOOD | SAMPLE: Accessible openings appeared serviceable on visual review. |
| Visible mechanical & electrical | NOT INSPECTED | SAMPLE: No performance or compliance testing of installations undertaken. |

# 04  Detailed observations  /  SAMPLE FINDINGS

## BC-01  Roof drainage and moisture ingress

| LOCATION / RATING | OBSERVATION | RECOMMENDED ACTION |
| --- | --- | --- |
| Roof perimeter / ATTENTION | SAMPLE: Debris obstructs an accessible rainwater outlet; adjacent internal staining may indicate inadequate drainage. No opening-up undertaken. | Arrange safe access, clear outlet and investigate water ingress; verify drainage after rainfall. |

## BC-02  Masonry movement and cracking

| LOCATION / RATING | OBSERVATION | RECOMMENDED ACTION |
| --- | --- | --- |
| East elevation / ADVISORY | SAMPLE: Stepped cracking observed around masonry opening. Width and progression have not been measured over time. | Seek competent assessment where warranted; record crack width and monitor movement before specifying repair. |

# 05  Photographic evidence

Replace these sample image frames with your own site photographs. Record location, date, element and corresponding finding reference for each image.

| PHOTO 01 / INSERT YOUR PHOTO Roof outlet • BC-01 | PHOTO 02 / INSERT YOUR PHOTO East elevation • BC-02 |
| --- | --- |

ACTIONS / SIGN-OFF

# 06  Recommended action plan  /  SAMPLE ACTIONS

| PRIORITY | ACTION | RESPONSIBILITY / TARGET |
| --- | --- | --- |
| HIGH | Investigate roof drainage and signs of water ingress. | [Owner / contractor] / [Target date] |
| MEDIUM | Assess and monitor cracking to external masonry. | [Surveyor / engineer] / [Target date] |
| ROUTINE | Plan periodic inspection of finishes and visible services. | [Facilities team] / [Target date] |

# 07  Conclusion  /  SAMPLE — REPLACE

SAMPLE: The accessible building fabric appears broadly serviceable, subject to investigation of rainwater drainage and monitoring of masonry cracking. Replace this example conclusion with a site-specific professional assessment.

# 08  Inspection record

| PREPARED BY | CLIENT / REPRESENTATIVE |
| --- | --- |
| Name: [Inspector name] | Name: [Client contact] |
| Company: [Company] | Organisation: [Organisation] |
| Signature: __________________ | Acknowledgement: __________________ |
| Date: __________________ | Date: __________________ |

# Editing guide — replace before sharing

EDITABLE FIELDS: Complete every [square-bracketed] item. SAMPLE CONTENT: Replace all example observations, ratings, priorities and conclusions with actual inspection evidence. Remove this editing guide before issuing a client report.

This is a general reporting aid, not a substitute for a competent inspection, agreed scope, applicable regulations or specialist advice.