INSPECTION REPORT  /  EDITABLE TEMPLATE

# Roof inspection
report

A clear, evidence-led record of roof condition, defects and recommended actions.

HOW TO USE  •  [Square brackets] = replace with your details  •  SAMPLE = illustrative finding; replace before issuing.

REPORT INFORMATION

| PROPERTY | INSPECTION |
| --- | --- |
| [Sample property — replace]: 18 Cedar Lane, Bristol | Date: [Inspection date] |
| Client: [Client / organisation] | Reference: [Report reference] |
| Inspector: [Your name / company] | Weather: [Conditions during inspection] |
| Roof type: Pitched, concrete tiles | Access: Ground level + ladder vantage |

# Executive summary  /  SAMPLE — REPLACE

The roof was viewed from accessible external vantage points. The main coverings appear generally serviceable, although isolated slipped tiles were noted on the rear slope. Debris accumulation was observed in the north gutter, and a junction flashing warrants closer investigation. These are illustrative findings only.

| OVERALL CONDITION | KEY PRIORITIES | INSPECTION STATUS |
| --- | --- | --- |
| ADVISORY | 1 urgent review • 2 planned actions | Visual inspection only |

# 01  Scope and limitations

Inspection covered visible roof coverings, ridge and verge details, flashings, rainwater goods and accessible roof penetrations. No roof coverings were lifted and concealed structure was not inspected. Record any access restrictions, weather impacts and relevant standards here.

# 02  Condition rating guide

| RATING | MEANING |
| --- | --- |
| GOOD | No material defects observed in the inspected area. |
| ADVISORY | Maintenance or further assessment recommended. |
| ATTENTION | Prompt action or specialist assessment required. |
| NOT INSPECTED | Area inaccessible or outside agreed scope. |

INSPECTION FINDINGS / EXAMPLE ENTRIES

# 03  Roof element assessment  /  SAMPLE FINDINGS

| ELEMENT | RATING | OBSERVATION / ACTION |
| --- | --- | --- |
| Roof coverings | ADVISORY | Two displaced tiles visible on rear slope. Arrange safe access and reinstate. |
| Ridges & verges | GOOD | No obvious displacement from available vantage point. |
| Flashings & junctions | ATTENTION | Staining at chimney abutment; investigate weatherproofing promptly. |
| Gutters & drainage | ADVISORY | Leaf debris in north gutter; clear and check falls/outlets. |
| Rooflights & vents | NOT INSPECTED | Not visible from safe accessible positions. |

# 04  Detailed observations  /  SAMPLE FINDINGS

## R-01  Displaced roof tiles

| LOCATION / RATING | OBSERVATION | RECOMMENDED ACTION |
| --- | --- | --- |
| Rear roof slope ADVISORY | Two tiles appear displaced near the lower third of the slope. No internal assessment undertaken. | Engage a competent roofer to inspect and reinstate tiles; verify underlay condition. |

## R-02  Possible flashing defect

| LOCATION / RATING | OBSERVATION | RECOMMENDED ACTION |
| --- | --- | --- |
| Chimney abutment, east elevation ATTENTION | Dark staining visible below the junction. Source and extent are unconfirmed. | Prioritise close-access investigation and repair as required. |

# 05  Photographic evidence

Insert inspection photographs with a descriptive caption and matching observation reference. The frames below indicate recommended image placement.

| PHOTO 01 / INSERT PHOTO Rear roof slope • R-01 | PHOTO 02 / INSERT PHOTO Chimney abutment • R-02 |
| --- | --- |

ACTIONS / SIGN-OFF

# 06  Recommended action plan  /  SAMPLE ACTIONS

| PRIORITY | ACTION | RESPONSIBILITY / TARGET |
| --- | --- | --- |
| HIGH | Investigate chimney flashing and complete remedial work if required. | [Assigned party] / [Date] |
| MEDIUM | Reinstate displaced roof tiles and check adjacent coverings. | [Assigned party] / [Date] |
| ROUTINE | Clear gutter debris and confirm free drainage. | [Assigned party] / [Date] |

# 07  Conclusion  /  SAMPLE — REPLACE

Based on the visible elements inspected, the roof requires targeted maintenance and further investigation at the chimney junction. This example conclusion should be replaced with an assessment supported by the actual inspection evidence, access limitations and professional judgement.

# 08  Inspection record

| PREPARED BY | CLIENT / REPRESENTATIVE |
| --- | --- |
| Name: [Inspector name] | Name: [Client contact] |
| Company: [Company] | Organisation: [Organisation] |
| Signature: __________________ | Acknowledgement: __________________ |
| Date: __________________ | Date: __________________ |

# Editing guide — replace before sharing

EDITABLE FIELDS: Replace every item in [square brackets], including company, inspector, client, dates and contact details. SAMPLE FINDINGS: The property, observations, ratings, photos and action plan are fictional examples—delete or replace them with findings from your actual inspection. Add, rename or remove sections as needed.

This is a general reporting aid, not a substitute for a competent inspection, applicable regulations or specialist advice.

A FASTER WAY TO REPORT

# Turn site inspections into finished reports — from your phone.

Spend less time formatting Word documents and more time inspecting. Qskope helps you capture observations, condition ratings and photo evidence while you are on site, then produce a consistent professional inspection report.

## CAPTURE ON SITE

Record findings and attach photographs directly from your phone.

## MAKE IT YOUR OWN

Start with inspection sections that suit your work, or build a completely custom inspection.

## REPORT WITH CONFIDENCE

Keep your evidence organised and generate a polished report without rebuilding the layout every time.

Try Qskope →  qskope.com

This page is provided by Qskope and is not part of the inspection findings. Remove it if you prefer a fully white-label client deliverable.